Architectural Specification

QMI Security Solutions

1661 Glenlake Ave, Itasca IL 60143

800-446-2500  www.qmiusa.com

For Operable Egress Type-Rectangular Only
Window and Door opening Protection and Security Screen

Section 08661 Security Screens-Operable/Hinged

PAGE ONE OF FOUR

1.0 GENERAL

1.1 DESCRIPTION
Provide permanently installed heavy-duty Aluminum Hinged Hurricane, Energy Saving and Security Screens. Product screen model “hinged” as provided by Qualitas Manufacturing Inc. (QMI), 1661 Glenlake Ave. Itasca Il, 60143 or approved equal.

Hurricane, Energy Saving and Security Protection Screens shall provide continuous and easy window viewing as well as provide air ventilation and egress when required. Shutters or Screens that prohibit easy viewing and air ventilation shall not be accepted. Perforated or Expanded Metal Shutters/Screens, Solid Panel Shutters, Accordion, Electric or Pull down Shutters shall not be accepted under this specification section.

1.2 SCOPE
Supply and install new aluminum security screen units covered under this section. All screen units covered under this specification shall be side or top hinged, consisting of an aluminum main frame, aluminum sub-frame/sash, stainless steel wire cloth, concealed hinges and have a continuous locking system with a single lever emergency release. Screws, anchors, fasteners and springs shall be stainless steel or corrosion resistant galvanized steel. Piano hinges shall not be accepted. No plastic, steel or galvanized steel parts shall be accepted. Screens shall be permanently installed.

2.0 MATERIAL

2.1 MAINFRAME AND SUB-FRAME/SASH
Screen mainframe shall be hollow extruded aluminum alloy minimum 6005 T5 with a minimum 2” face, 1 1/4” thick and .060 -.090 wall thickness. The screen sub-frame/sash shall consist of solid extruded aluminum alloy 6005 T5 with a minimum wall thickness .062. Mainframe and Sub-Frame/Sash shall have a minimum tensile strength of 38,000 lbs. per square inch.

2.2 WIRE LOCK RETAINERS
Screen wire lock retainers shall be of solid extruded aluminum alloy of 6005 T5, .062 wall thickness and having a minimum tensile strength of 38,000 pounds per square inch.

2.3 MULLIONS
All screen mullions when required shall be of a hollow extruded aluminum alloy of 6005 T5 and a minimum wall thickness of .062 and a tensile strength of 38,000 pounds per square inch

PAGE TWO OF FOUR

2.4 HINGES
All operable hinges shall be concealed type and constructed of a hollow aluminum extruded alloy 6005 T5, stainless steel pins, springs and copper bushings.

2.5 HARDWARE
All fasteners, screws, and other miscellaneous fastening and hardware components shall be of aluminum, stainless steel or corrosion resistant steel providing maximum strength for security and weather protection. No plastic parts shall be accepted.

3.0 CONSTRUCTION

ASSEMBLY: All screen units shall be assembled with corner gusset construction in a secure workmanlike manner to perform as herein specified to assure a complete constructed unit. All screen sub-frame and mainframe units shall fit together as one unit with a minimum spacing between the two frame sections of 1/8” The locking mechanism shall be viewed and operated from the interior and prohibit any unwanted opening from the exterior. All screens shall be constructed with one continuous piece of stainless steel wire.

3.1 MAINFRAME
All corners of screen mainframe shall be miter cut, fitted together with a .125 thick, 2” aluminum architectural angles. Each mainframe corner will be secured with a minimum of four aluminum pop rivets. No exposed fasteners on the interior or exterior of mainframe are permitted.

3.2 SUB-FRAME/SASH
Screen Sub-frame shall be miter cut, fitted together with two .250 thick and one .125 thick, 2”aluminum architectural angles. Weep holes are provided at the bottom of the sub-frame.  Each sash corner shell to have a minimum of four high pressure crimper peens.

3.2 MULLIONS
Mullions shall be retrofitted as to fit tight against the mainframe unit. 

3.3 SCREEN WIRE
Screen wire material is high-tensile 304 stainless steel with mesh count to be 12 x 12 strands per inch at 0.028 diameter. Screen wire mesh shall be one continuous piece with 1” wide, 90 degree bends on all four sides.

3.4 WIRE LOCK RETAINERS
Screen Wire shall be placed into mainframe receptor channels and wire lock retainer shall be miter cut, fitted, and placed over 1” wire angles on all four sides, fastened to screen mainframe with #12 x ¾ stainless steel or corrosion resistant steel screws 4” on centers.

4.0 HARDWARE

4.1 FASTENERS

All fasteners, screws, and other miscellaneous fastening and hardware components shall be of aluminum, stainless steel or corrosion resistant galvanized steel providing maximum strength for security and weather protection. No plastic parts shall be accepted.

4.2 LOCKING MECHANISM
Each screen unit shall have only one emergency exit locking system per screen for easy exiting. Locking System shall consist of a solid extruded 6005 T5 aluminum panic release lever. Screen shall open by simply pushing with a finger, hand, arm, elbow, foot or any human extremity permitting adults, children, elderly and handicap easy exiting. Screen Locking System shall return to its locking mode simply by pulling the screen mainframe inward from the interior or pushing it inward from the exterior. Screen Locking System shall be concealed and tamper-proof when in the locked position from exterior manipulation and pressure.



PAGE THREE OF FOUR

4.3 HINGES
There shall be a minimum of two (2) concealed hinges per screen unit, three or more if size span is over 40”. 

4.4 VIBRATION 
Each screen unit shall prevent mainframe rattle due to contact with sub-frame/sash.

5.0 FINISH

5.1 CLEANING / PAINTING
The exposed surfaces of all aluminum members, screen material, and screws shall be clean and free from serious surface blemishes. Screen wire to be corrosion pre-treated and powder coated with standard Kynar Powder Coat, electrostatic applied, and baked on, black only. Frame and sash profiles to be standard Kynar Powder Coated, electrostatic applied, and baked on. Standard colors are White and Bronze, with custom colors available upon customer request. Finish shall be selected by owner, architect or authorized agent. Samples of the standard or custom finishes shall be provided upon request. Warranty on the paint finish shall be guaranteed for a minimum of 10 years.          

6.0 INSTALLATION

6.1 INSTALLATION
Where face mounting of screen frame is not applicable, inside mounting of the screen frame with a tubing system or L angles shall apply.

- Security installation:  recommended spacing 6” from corners and fastener spacing sufficient to firmly attach screen frame to substrate.  Fasteners should be appropriate and sufficient for substrate.  Fasteners must be attached to structure.  Attachment to window or door frames is unacceptable.

6.2 CLEAN UP
The contractor shall be responsible for clean up and removal of any debris caused by the screen installation.

6.3 DAMAGES
The contractor shall be responsible for any property or tenant damages due to negligence during the screen installation.

7.0 MEASUREMENTS & SITE VISIT

7.1 FIELD MEASUREMENTS
Awarded contractor shall be responsible for site visit, exact field measurements and quantities prior to and after submittal of their bid.

8.0 QUALITY ASSURANCE

8.1 GUARANTEE
All installation shall be guaranteed for a period of one (1) year. All screen hardware and shall be guaranteed for a period of one (1) year from the date of installation.

PAGE FOUR OF FOUR

8.2 CERTIFICATIONS/REPORTS
As a minimum, stainless steel wire cloth 12 x 12 x .028 diameter shall be used.

8.3 PRODUCT APPROVALS
Prior product approval is required to be eligible for bidding. At a minimum of 10 days prior to the bid date, a full sized sample with literature, valid Independent Laboratory Test Reports, and shop drawings at 1/8” scale must be submitted to the Architect, Owner or Authorized Agent for review and acceptance as well as other documents, certifications and requirements in this specification.

9.0 DEFINITION STATEMENT 
The requirements in this specification are intended to provide the very best product based on manufacturer’s model types, experience, testing reports, certifications and salt air performance. 



END OF SECTION